P1: Waveform Pre-Processing
    - Low pass filter to optmize SNR
    - Select SPE data
    - Align for 50% crossing timing
    - Generate summary distributions
D0: Raw SPE Data from Scope
d0_xxxxx.txt:
CSV file with (time,voltage) pairs
xxxxx = file number in sequence
    - Sampled with 20GSPS, 2.5GHz
    - Tuned for 1E7 Gain at scope
    - Low occupancy SPEs (1:10)
d0_info.txt:
Record of HV setting, FE config
D1: Processed SPE Data from Scope
d1_xxxxx.txt:
CSV file with (time,voltage) pairs
xxxxx = file number in sequence
d1_info.txt:
Record of HV setting, config, cuts,
guide to summary plots
summmary distributions:
charge, pulse height, rise time,
Time crossings (pre-aligned)
waveform width, average
pulse shape, FFT
P2: Signal Splitting & Conditioning (SSC)
    - Signal splitter
    - Gain/shaping + noise
    - Signal coupling and transmission (e.g.,
       transformer, cable)
D2: Processed SPE Data from SSC
d2_xxxxx.txt:
CSV file with (time,voltage) pairs
xxxxx = file number in sequence
d2_info.txt:
Record of HV setting, FE config, cuts,
guide to summary plots
summmary distributions:
charge, pulse height, rise time,
crossings times, waveform width,
average pulse shape, FFT
P3: Digitzer
    - Filtering (e.g., anti-aliasing)
    - Sample for N bit ADC, baseline offset
    - Sampling noise (LSB)
D3: Processed SPEs from Digitizer
d3_xxxxx.txt:
CSV file with (index,sample) pairs
xxxxx = file number in sequence
d3_info.txt:
Record of HV setting, FE config, cuts,
digitizer settings, guide to summary
plots
summmary distributions:
charge, pulse height, rise time,
Time crossings, waveform width,
average pulse shape, FFT, etc.
Tyler Anderson tba109@psu.edu
Signal Path Studies, V1
1/17/19